## Slide 1
Cooling Load
Heat transfer due to indoor and outdoor temperature difference
Other heat gains
Solar heat gains
Internal heat gains (Occupant, Equipment etc.)

## Slide 2
Ambient Temperature
Ambient Cloud Coverage
Hour of Day
Indoor Temperature of TCL1
Indoor Temperature of TCL2
Indoor Temperature of TCLn
……
obs
ON/OFF of TCL1
ON/OFF of TCL2
ON/OFF of TCLn
……
acts
Total Energy Usage
Total Unmet Degree Hour
Internal Heat Gain
Solar Heat Gain
Modelling Noise
Measurement Error
comments